## Slide 1: EEE 481: Group 41
Merging Machine Learning with Conventional RELAYS

## Slide 2: Project description
The power grid is the critical infrastructure of a nation. Relays are used to protect various components in the power grid such as transmission lines and generators. These relays are essentially small computing devices that can analyze the currents and voltages of a component in real time and take decisions to operate a switch. The relays trade off conflicting requirements of keeping the generator or transmission line in service as much as possible without false disconnections, while at the same time making sure that the components are protected from any over-voltages or over-currents. They use complicated signal processing algorithms and information about the power system to reduce false operations and accurately take the decision of protecting device. In this senior design project, the students will explore the merits of merging machine learning with conventional relays to improve their accuracy and to offer additional information for system restoration such as fault localization and identifying the type of fault

## Slide 3: TASKS (add due dates)
Team Establishment Form
TA Conference 1 - Conducted Between Sept 15- Sept 27, 2022
First Written Report
Video Progress Report
Second Written Report
TA Conference 2
Final Report
Proof of Concept Quiz
Submission of Requests for Additional Funding
Mentor Evaluation

## Slide 4: Roles and responsibilities
Lead - Don
Hardware – Don / Jorge
Software – Theron?
Calendar / drafting documents – Rocky / Kyle?
Organization / team communications - Rocky / Kyle?

## Slide 5: Planning Considerations from 15SEP2022
Hardware/Software Integration
Document Repository
Cost Analysis
Roles and Responsibilities
Timeline
Due-Outs
Strengths and Weaknesses of Team Members
Challenges Associated with Distance and Time Between Team Members

## Slide 6: Notes from 19SEP2022
temperature for machine learning, dates on tasks, pictures of products, C++ and Python, component interchangeability (work with different voltage values), portable components, can we use PowerWorld to simulate large voltage loads?
What do we want to measure/monitor? Temperature? Voltage? Current?
Controller or Processor with 4-16mb memory
Relay Failures:
1. Trip open
2. Shut
3. Short through
Ideas:
Security: Single sided radio air wave.
Power conversion  proof of concept to provide interchangeability.
5V, 12V, 24V, 48V, … 120V.
Plug and play: universal pin layout
Coil replacement device or material?
Temperature limitations.

## Slide 7: Relay categories
1. Protective relays
Protective relays are one of the critical components of the electrical power grid that serve to detect defective equipment or other dangerous or intolerable conditions and can either initiate or permit switching or simply provide an alarm to provide a safer, more reliable delivery system.
2. Monitoring relays
Verify conditions on the power system or in the protection system
3. Programming relays
Establish or detect electrical sequences
4. Regulating relays
Activate when an operating parameter deviated from predetermined limits
5. Auxiliary relays
Operating in response to the opening or closing of the operating circuit to supplement another relay or device. These include timers, sealing units, lock-out relays, closing relays, trip relays, etc.

## Slide 8: Problem Set (1)
Protective Relays
Communications: there is not relay in industry that can communicated efficiently its information to the engineer at the office (relay’s current setting).
The innovation part of this project would come from the creation of an application that would show the setting of each relay in the field and able to change the settings remotely.
The other part would be, the relay would calculate the most optimal settings for the given feeder installation.

## Slide 9: Problem Set (2)
Problem: Relays are currently designed to handle a single output load, with minor variations from the design causing faults or being incompatible without faults. Solution: Machine-learning is well suited to the solution of this, a muC or muP can be used to automatically detect ranges being input, and set to allowable supplies, for a variety of voltage and current ranges.
Problem: Heat generation in relays and associated loads can accelerate faults and damage to the components. Solution: Electrically isolated supplies to the relay (e.g. induction based) will allow for a proportionally stepped down input for comparison and evaluation by the muC/muP. This proportional reduction results in I^2R losses to be reduced by proportionally squared amounts of loss, significantly reducing heat production in the relay and protecting components.

## Slide 10: COMMON RELAY PROBLEMS
Actual Maximum and Minimum Operating Temperature
Continuous Load Current Draw
Switching Current
Load Voltage
Load Type - see switching current
Cycle Rate
Connection Method
Contamination
Mechanical Wear of the internal switching components
https://www.durakoolrelays.com/information/technology/how-to-avoid-common-relay-problems/

## Slide 11: Future RELAY PROBLEMS
Relays wear out
Unable to keep up with power demand

## Slide 12: Project Solution (Draft)
This project may inform on how to use a muC to detect voltage/current, which will be useful for applying our design: https://microcontrollerslab.com/three-phase-voltage-measurement-pic/
RP2040
ESP32
Another ESP32
Realistically, we should be looking at an ESP32 module for a muC, as they tend to retail between $2.50 and $4, have very low power demands (allowing for parasitic power supplies with an 18650 UPS if needed - though likely outside design scope), and come with programmable GPIOs in excess, for use to define how we want incoming signals to be handled. About the ESP32 Aliexpress Storefront Amazon Storefront
Articles about ESP32 ML: SWA Hackster Bouvet
Hackaday Also has tons of articles relevant to ESP32 usage, and other people's projects.

## Slide 13: Tech Requirements
Network
Satellite
Link

## Slide 14: Digital Communications
Cloud
Local
Hybrid

## Slide 15: Thank You
(EMAIL)